## DV (hidden)
Type of bidder | Dates | Months | Year | GST Rates
Sole Bidder | 1 | January | 2023 | 0%
| 2 | February | 2024 | 5%
| 3 | March |  | 12%
| 4 | April |  | 18%
| 5 | May |  | 28%
| 6 | June
| 7 | July
| 8 | August
| 9 | September
| 10 | October
| 11 | November
| 12 | December
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Cover
Price Schedule |  |  |  | Price Schedule
General guidelines for filling up the Price Schedule
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms)
| 1 | Fill up only yellow shaded cells in Sch-1, Sch-2, Sch-3a, Sch-3b, Sch-4, Sch-5, Sch-6.
| 2 | All the cells in Sch-4 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| Click for Detailed General Instructions |  | Click to Skip Instructions & Proceed
PARBATI KOLDAM TRANSMISSION COMPANY LIMITED (PrKTCL)

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedule
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only yellow shaded cells.
| (ii) | Certain data type entries have been restricted,such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
| (vii) | Print the copy of the finalised Bid Price Schedule and submit it along with the Bidding Documents .
| (viii) | Corresponding cell for mode of transaction shall become enable only after filling up the unit rate,therefore first fill up the unit rate and then mode of transaction for the corresponding item.
II | This Workbook consists of following worksheets :
Cover :
| ● | Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-2 (Installation Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3a (Training)
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3b (Maintenance Charges during and after Defect Liability Period) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -5 Buy Back :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch -6 Grand Summary:
| ● | Summary of all the Schedules shall be displayed here automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
* * *
Happy Bidding !
Click to Proceed

## Name of Bidder
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu]
Name of Bidder
Address of Bidder
Authorized Signatory
Designation
Date
Place
Click for Sch-1

## Sch-1
Schedule-1
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
Schedule of Rates & Prices
Bidders Name & Address | [5 empty] | To:
Parbati Koldam Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Plant and Equipment (including Mandatory Spares Parts) to be supplied
All prices are in Indian Rupees
SI No. | Activity Description | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Unit Freight, In-Transit, Insurance, Loading & Unloading charges * | Unit GST Amount on Ex-works and Freight charges as confirmed by Bidder # | Total Price (including Ex-works price, Freight, In-Transit, Insurance, Loading & Unloading charges and GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9={(6+7+8)*5}
I OPGW & FOTE
400 kV Koldam (NTPC) – Ludhiana (PG) line which is to be LILOed at 400 kV Ropar (PSTCL) (150 kms)
1 | OPGW Supply | 24 fiber (DWSM) OPGW fiber OPTIC CABLE | KM | 189.569 |  |  |  | Included
2 | OPGW Supply | Suspension Clamp Assembly for 24 fiber OPGW | EA | 197 |  |  |  | Included
3 | OPGW Supply | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 3 |  |  |  | Included
4 | OPGW Supply | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FOR JOINT BOX (SPLICING) LOCATION | SET | 42 |  |  |  | Included
5 | OPGW Supply | TENSION ASSEMBLY - DOUBLE TENSION PASSTHROUGH ASSEMBLY FOR 24 FIBEROPGW | SET | 266 |  |  |  | Included
6 | OPGW Supply | Vibration Damper for 24 fiber OPGW | EA | 1628 |  |  |  | Included
7 | OPGW Supply | Down Lead Clamp Assembly for 24 fiber OPGW | EA | 1260 |  |  |  | Included
8 | OPGW Supply | Joint Box for 24 fiber OPGW | EA | 42 |  |  |  | Included
9 | OPGW Supply | OPGW fiber Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 2 |  |  |  | Included
10 | OPGW Supply | 24F (DWSM) APPROACH Fiber OPTIC CABLE | KM | 3 |  |  |  | Included
11 | OPGW Supply | GI PIPE INSTALLATION HARDWARE FOR APPROACH CABLING | KM | 3 |  |  |  | Included
12 | OPGW Supply | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 20 |  |  |  | Included
13 | OPGW Supply | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 15 |  |  |  | Included
14 | OPGW mandatory spares | 24 Fiber (DWSM) OPGW Fiber OPTIC CABLE | KM | 7 |  |  |  | Included
15 | OPGW mandatory spares | Suspension Clamp Assembly for 24 fiber OPGW | EA | 7 |  |  |  | Included
16 | OPGW mandatory spares | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 1 |  |  |  | Included
17 | OPGW mandatory spares | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FOR JOINT BOX (SPLICING) LOCATION | SET | 1 |  |  |  | Included
18 | OPGW mandatory spares | TENSION ASSEMBLY - DOUBLE TENSION PASSTHROUGH ASSEMBLY FOR 24 FIBER OPGW | SET | 9 |  |  |  | Included
19 | OPGW mandatory spares | Vibration Damper for 24 fiber OPGW | EA | 56.98 |  |  |  | Included
20 | OPGW mandatory spares | Down Lead clamp Assembly for 24 fiberOPGW | EA | 44 |  |  |  | Included
21 | OPGW mandatory spares | Joint Box for 24 fiber OPGW | EA | 1 |  |  |  | Included
22 | OPGW mandatory spares | 24F (DWSM) APPROACH fiber OPTIC CABLE | KM | 0.105 |  |  |  | Included
23 | OPGW mandatory spares | GI ELBOW INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 1 |  |  |  | Included
24 | OPGW mandatory spares | GI FLEXIBLE CONDUIT INSTALLATION HARDWARE FOR APPROAH CABLING | EA | 1 |  |  |  | Included
25 | Telecom eqpt supply | SDH EQUIPMENT STM-16 MADM, 3 MSP protected directions-Base Equipment (Common cards) consisting of following: 2 nos x Cross connect / Control Cards, Optical Base Cards, 2nos x Power Supply Cards, Power Cabling, Other Hardware & accessories including sub racks, patch cord, connector board, fan board, DDF, Installation Kit, Filler Panel, Chassis etc fully equipped excluding (2) & (3) below | EA | 2 |  |  |  | Included
26 | Telecom eqpt supply | S16.1 | EA | 4 |  |  |  | Included
27 | Telecom eqpt supply | L16.2 SFP | EA | 4 |  |  |  | Included
28 | Telecom eqpt supply | Optical Line Interface solution (to support max 200 km) FOR STM-16 | EA | 4 |  |  |  | Included
29 | Telecom eqpt supply | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 4 |  |  |  | Included
30 | Telecom eqpt supply | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 16 INTERFACES PER CARD) | EA | 4 |  |  |  | Included
31 | Telecom eqpt supply | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 2 |  |  |  | Included
32 | Telecom eqpt supply | Equipment Cabinets For SDH | EA | 2 |  |  |  | Included
33 | Telecom eqpt supply | FODP (72F) | EA | 2 |  |  |  | Included
34 | Telecom eqpt supply | 24F (DWSM) Approach Fiber Optic Cable with all installation hardware set and HDPE pipe | KM | 2 |  |  |  | Included
35 | Telecom eqpt supply | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 2 |  |  |  | Included
36 | Telecom eqpt supply | NMS- Craft Terminal-Hardware | Set | 2 |  |  |  | Included
37 | Telecom eqpt supply | NMS- Craft Terminal-Software | Set | 2 |  |  |  | Included
38 | Spares-Tele eqpt | SDH EQUIPMENT STM-16 MADM, 3 MSP protected directions-Base Equipment (Common cards) consisting of following: 2 nos x Cross connect / Control Cards, Optical Base Cards, 2nos x Power Supply Cards, Power Cabling, Other Hardware & accessories including sub racks, patch cord, connector board, fan board, DDF, Installation Kit, Filler Panel, Chassis etc fully equipped excluding (2) & (3) below | SET | 1 |  |  |  | Included
39 | Spares-Tele eqpt | S16.1 | EA | 1 |  |  |  | Included
40 | Spares-Tele eqpt | L16.2 SFP | EA | 1 |  |  |  | Included
41 | Spares-Tele eqpt | Optical Line Interface solution (to support max 200 km) FOR STM-16 | EA | 1 |  |  |  | Included
42 | Spares-Tele eqpt | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  |  |  | Included
43 | Spares-Tele eqpt | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 16 INTERFACES PER CARD) | EA | 1 |  |  |  | Included
44 | Spares-Tele eqpt | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  |  |  | Included
45 | Spares-Tele eqpt | Pre- Connectorized Optical Fibre Patch Cord (10 mts) (pack of six Patch cords) | SET | 1 |  |  |  | Included
46 | Spares-Tele eqpt | FODP( 72F) | EA | 1 |  |  |  | Included
47 | Spares-Tele eqpt | 24F (DWSM) Approach Fiber Optic Cable with all installation hardware set and HDPE pipe | KM | 1 |  |  |  | Included
48 | Spares-Tele eqpt | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 1 |  |  |  | Included
Total Ex-Works Price excluding GST | [7 empty] | 0
|  | Total Freight, In-Transit, Insurance, Loading & Unloading charges excluding GST | [5 empty] | 0
|  | Total GST Tax on Ex-works and Freight charges as confirmed by Bidder | [5 empty] | 0
Note # | Specify amount of GST on the transaction between the Contractor and the Employer
* | Prices to be quoted in Freight and Insurance shall be towards Local transportation, Insurance, Unloading & Loading in line with ITB Clause 11.4(b) only.
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-2

## Sch-2
Schedule-2
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Parbati Koldam Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Installation Charges
All prices are in Indian Rupees
SI No. | Activity Description | Description | Unit | Qty. | Unit Erection Charges | Unit GST on Erection charges as confirmed by Bidder | Total Erection Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
I OPGW & FOTE
400 kV Koldam (NTPC) – Ludhiana (PG) line which is to be LILOed at 400 kV Ropar (PSTCL) (150 kms)
Summary of Requirement of Hardware for OPGW
1 | Installation services | Installation of 24Fibre (DWSM) OPGW Cable alongwith associated Hardware fittings & vibration dampers in Live-line condition including Sag & Down Lead (This will be measured based on the route length of the line) | KM | 150.642 |  |  | Included
2 | Installation services | Installation of Joint box above ground (Including Splicing & Testing) : 24 fiber | EA | 42 |  |  | Included
3 | Installation services | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 2 |  |  | Included
4 | Installation services | Fibre Optic Approach cabling: Including installation hardware like GI pipe, elbow, conduits, accessories etc.: 24 Fibre | KM | 3 |  |  | Included
5 | Service-Telecom eqpt | SDH EQUIPMENT STM-16 MADM, 3 MSP protected directions-Base Equipment (Common cards) consisting of following: 2 nos x Cross connect / Control Cards, Optical Base Cards, 2nos x Power Supply Cards, Power Cabling, Other Hardware & accessories including sub racks, patch cord, connector board, fan board, DDF, Installation Kit, Filler Panel, Chassis etc fully equipped excluding (2) & (3) below | EA | 2 |  |  | Included
6 | Service-Telecom eqpt | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 4 |  |  | Included
7 | Service-Telecom eqpt | Optical Interface Cards/SFP# -L16.1 for SDH Equipment-STM-16 | EA | 4 |  |  | Included
8 | Service-Telecom eqpt | Optical Line Interface solution (to support max 200 km) FOR STM-16 | EA | 4 |  |  | Included
9 | Service-Telecom eqpt | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 4 |  |  | Included
10 | Service-Telecom eqpt | Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | EA | 4 |  |  | Included
11 | Service-Telecom eqpt | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 2 |  |  | Included
12 | Service-Telecom eqpt | Equipment Cabinets For SDH | EA | 2 |  |  | Included
13 | Service-Telecom eqpt | FODP( 72F) | EA | 2 |  |  | Included
14 | Service-Telecom eqpt | 24F (DWSM) Approach Fiber Optic Cable with all installation hardware set and HDPE pipe | KM | 2 |  |  | Included
15 | Service-Telecom eqpt | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 2 |  |  | Included
16 | Service-Telecom eqpt | NMS- Craft Terminal-Hardware | SET | 2 |  |  | Included
17 | Service-Telecom eqpt | NMS- Craft Terminal-Software | SET | 2 |  |  | Included
Total Installation Charges excluding GST | [6 empty] | 0
Total GST as confirmed by Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3a

## Sch-3a
Schedule-3a
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Parbati Koldam Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Training Charges
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Training Charges excluding GST | Unit GST on Training charges as confirmed by Bidder | Total Training Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
I OPGW & FOTE
400 kV Koldam (NTPC) – Ludhiana (PG) line which is to be LILOed at 400 kV Ropar (PSTCL) (150 kms)
1 | Training-Tele eqpt | Training for communication Equipments | Man days | 3 |  |  | Included
Total Training Charges | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3b

## Sch-3b
Schedule-3b
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Parbati Koldam Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Maintenance Charges during and after Defect Liability Period
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Unit GST as confirmed by Bidder | Total Maintenance Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
I OPGW & FOTE
400 kV Koldam (NTPC) – Ludhiana (PG) line which is to be LILOed at 400 kV Ropar (PSTCL) (150 kms)
1 | AMC-Tele eqpt | Maintenance Charges for communication system during warranty period | Years | 2 |  |  | Included
2 | AMC-Tele eqpt | Maintenance Charges for communication system after warranty period | Years | 6 |  |  | Included
Total Maintenance Charges during and after Defect Liability Period | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-4

## Sch-4
Schedule-4
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
Summary of taxes and duties applicable on Plant & Equipment
Bidders Name & Address: |  |  | To:
Parbati Koldam Transmission Company Limited
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Item Nos. |  | Total Price (INR)
1 | Total GST on Goods
| Total GST on supply of goods (interalia including Type Test charges) between the Contractor and the Employer (identified in Schedule 1) which are not included in the Ex-works Prices as per the provision of the Bidding Documents, as applicable |  | 0
2 | Total GST on Services
| Total GST on installation services (Schedule-2), Training Charges (Schedule-3a), Maintenance Charges during and Defect Liability Period (Schedule-3b) |  | 0
| Grand Total (1+2) |  | 0
Date: |  | Authorized Signatory:
Place: |  | Designation:
Click for Sch-5

## Sch-5 (Buy Back)
Schedule-5
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
(Schedule of Rates & Prices)
Bidders Name & Address: |  |  |  |  | To:
Parbati Koldam Transmission Company Limited
Name : |  |  |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Buy-Back Charges (Scrap Value)
All prices are in Indian Rupees
SI. No. | Description | Unit | Quantity | Unit Charges excluding GST | Total Charges excluding GST
1 | 2 | 3 | 4 | 5 | 6=(4*5)
I OPGW & FOTE
400 kV Koldam (NTPC) – Ludhiana (PG) line which is to be LILOed at 400 kV Ropar (PSTCL) (150 kms)
1 | Dismantled Scrap Earthwire along with its Hardware accessories | KM | 150.642 |  | Included
Total Charges (Excluding GST) |  |  |  |  | 0
*Buyer (Bidder/Contractor) of the scrap material shall be liable to pay extra towards GST, TCS (Tax Collected at Source) as per Income Tax Act and other applicable taxes if any, as per actual, as per tax invoice raised by the Employer.
*Scrap Value (excluding GST and other applicable taxes if any) shall be considered solely for bid evaluation purpose to arrive at the net evaluated price of the Bidder/Contractor.
Note: | 1. Details of Earthwire to be dismantled from existing transmission lines of various voltage levels are given in Appendix A of Technical Specification
Date: |  |  | Authorized Signatory:
Place: |  |  | Designation:
Click for Sch-6

## Sch-6
Schedule-6
Supply and Installation of OPGW on existing 400 kV Koldam – Ludhiana (PG) line which is LILOed at 400 kV Ropar (PSTCL) (150 kms).
Grand Summary
Bidders Name & Address: |  |  | To:
Parbati Koldam Transmission Company Limited
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Description |  | Total Price (INR)
1 | Total Schedule-1 |  | 0
Total Ex-Works Price of Plant & Equipment including freight charges and GST
2 | Total Schedule-2 |  | 0
Total Installation Charges including GST
3 | Total Schedule-3a |  | 0
Total Training Charges including GST
4 | Total Schedule-3b |  | 0
Total Maintenance Charges during and after Defect Liability Period including GST
5 | Total Schedule-4 |  | Included
Summary of taxes and duties applicable on Plant & Equipment
6 | Total Schedule-5 |  | 0
Buy Back Charges
7 | Grand Total* (1+2+3+4-6) |  | 0
*Note: The Grand Total indicated here in Schedule-6 shall be quoted in Bid Form 2nd Envelope.
Date: |  | Authorized Signatory:
Place: |  | Designation: