## DV (hidden)
Type of bidder | Dates | Months | Year | GST Rates
Sole Bidder | 1 | January | 2023 | 0%
| 2 | February | 2024 | 5%
| 3 | March |  | 12%
| 4 | April |  | 18%
| 5 | May |  | 28%
| 6 | June
| 7 | July
| 8 | August
| 9 | September
| 10 | October
| 11 | November
| 12 | December
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Cover
Price Schedule |  |  |  | Price Schedule
General guidelines for filling up the Price Schedule
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
| 1 | Fill up only yellow shaded cells in Sch-1, Sch-2, Sch-3a, Sch-3b, Sch-4, Sch-5, Sch-6.
| 2 | All the cells in Sch-4 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| Click for Detailed General Instructions |  | Click to Skip Instructions & Proceed
BHOPAL DHULE TRANSMISSION COMPANY LIMITED (BDTCL)

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedule
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only yellow shaded cells.
| (ii) | Certain data type entries have been restricted,such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
| (vii) | Print the copy of the finalised Bid Price Schedule and submit it along with the Bidding Documents .
| (viii) | Corresponding cell for mode of transaction shall become enable only after filling up the unit rate,therefore first fill up the unit rate and then mode of transaction for the corresponding item.
II | This Workbook consists of following worksheets :
Cover :
| ● | Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-2 (Installation Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3a (Training)
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3b (Maintenance Charges during and after Defect Liability Period) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -5 Buy Back :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch -6 Grand Summary:
| ● | Summary of all the Schedules shall be displayed here automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
* * *
Happy Bidding !
Click to Proceed

## Name of Bidder
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu]
Name of Bidder
Address of Bidder
Authorized Signatory
Designation
Date
Place
Click for Sch-1

## Sch-1
Schedule-1
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
Schedule of Rates & Prices
Bidders Name & Address | [5 empty] | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Plant and Equipment (including Mandatory Spares Parts) to be supplied
All prices are in Indian Rupees
SI No. | Activity Description | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Unit Freight, In-Transit, Insurance, Loading & Unloading charges * | Unit GST Amount on Ex-works and Freight charges as confirmed by Bidder # | Total Price (including Ex-works price, Freight, In-Transit, Insurance, Loading & Unloading charges and GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9={(6+7+8)*5}
Summary of Requirement
1 |  | Protection Coupler (Digital) including Panel for 765KV Line with Amplifier, E1/Optical converter, Control card, Optical Interface as per requirement | SETS | 6 |  |  |  | Included
2 |  | Dismantling, Shifting, Reerection & Recommissioning of FOTE panels | SETS | 6 |  |  |  | Included
3 |  | FODP with Panel | SETS | 2 |  |  |  | Included
4 |  | Fiber Optic Cable | LOT | 1 |  |  |  | Included
5 |  | Fiber Optic Tele-Protection and Communication Equipment 5 MSP (1+1) including NGFW Firewall as applicable | LS | 1 |  |  |  | Included
6 |  | Complete FOTE for Protection Inter-tripping, data and voice communication inclusive of STM-16 MUX, Ethernet Cards, Optical Transmitter (SFP), Optical Interface Cards, Data Communication Cards, Voice Cards, Sub-racks, Panel Cabinets, Patch Cords, Power Cables, Fiber Optic Approach Cable upto Transmission Line termination Gantry along with Splice Box mounted on the Line Gantry and Power Supply. | LS | 1 |  |  |  | Included
7 |  | Integration with existing Substation FOTE System with New SDH | LS | 1 |  |  |  | Included
8 |  | Data Communication to relevant RLDC using Layer-3 MPLS based existing network and integration with existing network at CCR Noida, this includes provision of Tower with mounted Antenna, Ethernet Router and Ethernet to Serial Convertor, Serial Cable with DB9 connector at substation end. | LS | 1 |  |  |  | Included
9 |  | The integration of Communication equipment with centralized NMS at regional level. (Including Configuration work in centralized NMS for integration of new Communication equipment) | LS | 1 |  |  |  | Included
10 |  | Additional work required for interconnecting "S/c 765kV line Bhopal to Indore" present FOTE at Indore end "installed in Bay Kiosk" with Control Room FOTE at Indore "require additional equipment/ work". | LS | 1 |  |  |  | Included
11 |  | DCP for Dhule PS shall be Dhule (BDTCL) S/s and ULDC data of Dhule PS (SCADA, VoIP, PMU, Line protection etc.) shall be integrated with Dhule (BDTCL) for reporting to WRLDC through Dhule (MSETCL). | LS | 1 |  |  |  | Included
12 |  | Spare as per CEA Guidelines | LS | 1 |  |  |  | Included
13 |  | Any additional required to complete the Scope | LS | 1 |  |  |  | Included
14 | [7 empty] | Included
15 | [7 empty] | Included
16 | [7 empty] | Included
17 | [7 empty] | Included
18 | [7 empty] | Included
Total Ex-Works Price excluding GST | [7 empty] | 0
|  | Total Freight, In-Transit, Insurance, Loading & Unloading charges excluding GST | [5 empty] | 0
|  | Total GST Tax on Ex-works and Freight charges as confirmed by Bidder | [5 empty] | 0
Note # | Specify amount of GST on the transaction between the Contractor and the Employer
* | Prices to be quoted in Freight and Insurance shall be towards Local transportation, Insurance, Unloading & Loading in line with ITB Clause 11.4(b) only.
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-2

## Sch-2
Schedule-2
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Installation Charges
All prices are in Indian Rupees
SI No. | Activity Description | Description | Unit | Qty. | Unit Erection Charges | Unit GST on Erection charges as confirmed by Bidder | Total Erection Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
Summary of Requirement
1 | Installation services | Installation of 5 no’s, STM-16 (FOTE) equipment supporting minimum five (5) directions with MSP (Multiplex Section Protection 1+1) along with necessary interfaces and cards at following Locations (1 No. FOTE at each location) and integration with existing ISTS Communication network: | LS | 1 |  |  | Included
2 | Installation services | Installation of approach cable, FODP and other accessories at Indore (PG) and Vadodara (PG) S/s. | LS | 1 |  |  | Included
Total Installation Charges excluding GST | [6 empty] | 0
Total GST as confirmed by Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3a

## Sch-3a
Schedule-3a
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Training Charges
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Training Charges excluding GST | Unit GST on Training charges as confirmed by Bidder | Total Training Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
1 | Training |  | Not Applicable | 1 |  |  | Included
Total Training Charges | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3b

## Sch-3b
Schedule-3b
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Maintenance Charges during and after Defect Liability Period
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Unit GST as confirmed by Bidder | Total Maintenance Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
1 | Not Applicable |  | Years | - |  |  | Included
2 |  |  | Years | - |  |  | Included
Total Maintenance Charges during and after actual commissioning of the Project | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-4

## Sch-4
Schedule-4
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
Summary of taxes and duties applicable on Plant & Equipment
Bidders Name & Address: |  |  | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Item Nos. |  | Total Price (INR)
1 | Total GST on Goods
| Total GST on supply of goods (interalia including Type Test charges) between the Contractor and the Employer (identified in Schedule 1) which are not included in the Ex-works Prices as per the provision of the Bidding Documents, as applicable |  | 0
2 | Total GST on Services
| Total GST on installation services (Schedule-2), Training Charges (Schedule-3a), Maintenance Charges during and Defect Liability Period (Schedule-3b) |  | 0
| Grand Total (1+2) |  | 0
Date: |  | Authorized Signatory:
Place: |  | Designation:
Click for Sch-5

## Sch-5 (Buy Back)
Schedule-5
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
(Schedule of Rates & Prices)
Bidders Name & Address: |  |  |  |  | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : |  |  |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Buy-Back Charges (Scrap Value)
All prices are in Indian Rupees
SI. No. | Description | Unit | Quantity | Unit Charges excluding GST | Total Charges excluding GST
1 | 2 | 3 | 4 | 5 | 6=(4*5)
1 | Dismantled Scrap FOTE Equipment along with its accessories | LS | 1 |  | Included
Total Charges (Excluding GST) |  |  |  |  | 0
*Buyer (Bidder/Contractor) of the scrap material shall be liable to pay extra towards GST, TCS (Tax Collected at Source) as per Income Tax Act and other applicable taxes if any, as per actual, as per tax invoice raised by the Employer.
*Scrap Value (excluding GST and other applicable taxes if any) shall be considered solely for bid evaluation purpose to arrive at the net evaluated price of the Bidder/Contractor.
Note: | 1. Details of Earthwire to be dismantled from existing transmission lines of various voltage levels are given in Appendix A of Technical Specification
Date: |  |  | Authorized Signatory:
Place: |  |  | Designation:
Click for Sch-6

## Sch-6
Schedule-6
Upgrading STM-1 FOTE to STM-16 FOTE at Bhopal (BDTCL), Dhule (BDTCL), Indore (PG), Aurangabad (PG) and Vadodara (PG) S/s.
Grand Summary
Bidders Name & Address: |  |  | To:
BHOPAL DHULE TRANSMISSION COMPANY LIMITED
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Description |  | Total Price (INR)
1 | Total Schedule-1 |  | 0
Total Ex-Works Price of Plant & Equipment including freight charges and GST
2 | Total Schedule-2 |  | 0
Total Installation Charges including GST
3 | Total Schedule-3a |  | 0
Total Training Charges including GST
4 | Total Schedule-3b |  | 0
Total Maintenance Charges during and after Defect Liability Period including GST
5 | Total Schedule-4 |  | Included
Summary of taxes and duties applicable on Plant & Equipment
6 | Total Schedule-5 |  | 0
Buy Back Charges
7 | Grand Total* (1+2+3+4-6) |  | 0
*Note: The Grand Total indicated here in Schedule-6 shall be quoted in Bid Form 2nd Envelope.
Date: |  | Authorized Signatory:
Place: |  | Designation: