## DV (hidden)
Type of bidder | Dates | Months | Year | GST Rates
Sole Bidder | 1 | January | 2023 | 0%
| 2 | February | 2024 | 5%
| 3 | March | 2025 | 12%
| 4 | April | 2026 | 18%
| 5 | May |  | 28%
| 6 | June
| 7 | July
| 8 | August
| 9 | September
| 10 | October
| 11 | November
| 12 | December
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Cover
Price Schedule |  |  |  | Price Schedule
General guidelines for filling up the Price Schedule
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
| 1 | Fill up only yellow shaded cells in Sch-1, Sch-2, Sch-3a, Sch-3b, Sch-4, Sch-5, Sch-6.
| 2 | All the cells in Sch-4 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| Click for Detailed General Instructions |  | Click to Skip Instructions & Proceed
Jabalpur Transmission Company Limited (JTCL)

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedule
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only yellow shaded cells.
| (ii) | Certain data type entries have been restricted,such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
| (vii) | Print the copy of the finalised Bid Price Schedule and submit it along with the Bidding Documents .
| (viii) | Corresponding cell for mode of transaction shall become enable only after filling up the unit rate,therefore first fill up the unit rate and then mode of transaction for the corresponding item.
II | This Workbook consists of following worksheets :
Cover :
| ● | Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-2 (Installation Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3a (Training)
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3b (Maintenance Charges during and after Defect Liability Period) :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -5 Buy Back :
| ● | Fill up unit rates for all the items in numeric values greater than 0(zero).If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch -6 Grand Summary:
| ● | Summary of all the Schedules shall be displayed here automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
* * *
Happy Bidding !
Click to Proceed

## Name of Bidder
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km)
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder
Name of Bidder
Address of Bidder
Authorized Signatory
Designation
Date
Place
Click for Sch-1

## Sch-1
Schedule-1
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
Schedule of Rates & Prices
Bidders Name & Address | [5 empty] | To:
Jabalpur Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Plant and Equipment (including Mandatory Spares Parts) to be supplied
All prices are in Indian Rupees
SI No. | Activity Description | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Unit Freight, In-Transit, Insurance, Loading & Unloading charges * | Unit GST Amount on Ex-works and Freight charges as confirmed by Bidder # | Total Price (including Ex-works price, Freight, In-Transit, Insurance, Loading & Unloading charges and GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9={(6+7+8)*5}
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km)(JB Line)
Summary of Requirement of Hardware for OPGW
1 | OPGW Supply | 48 fiber (DWSM) OPGW fiber OPTIC CABLE | KM | 255 |  |  |  | Included
2 | OPGW Supply | TENSION ASSEMBLY - DEAD END FOR 48 FIBER OPGW (JOINT BOX LOCATION) | SET | 3 |  |  |  | Included
3 | OPGW Supply | Suspension Clamp Assembly for 48 fiber OPGW (NON JOINT BOX LOCATION) | SET | 458 |  |  |  | Included
4 | OPGW Supply | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 48F OPGW INCLUDING ALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 5 |  |  |  | Included
5 | OPGW Supply | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBER OPGW (NON JOINT BOX LOCATION) | SET | 100 |  |  |  | Included
6 | OPGW Supply | TENSION FITTINGS ASSEMBLY FOR 48 F OPGW INCLUDING ALL ACCESSORIES FOR JOINT BOX (SPLICING) LOCATION | SET | 62 |  |  |  | Included
7 | OPGW Supply | Vibration Damper for 48 fiber OPGW | EA | 2502 |  |  |  | Included
8 | OPGW Supply | Down Lead Clamp Assembly for 48 fiber OPGW | EA | 2222 |  |  |  | Included
9 | OPGW Supply | Joint Box for 48 fiber (OPGW-Approach Cable) | EA | 3 |  |  |  | Included
10 | OPGW Supply | Joint Box for 48 fiber (OPGW-OPGW) | EA | 66 |  |  |  | Included
11 | OPGW Supply | Approach Cable | MTR | 306 |  |  |  | Included
12 | OPGW Supply | GI Pipe (m) | MTR | 255 |  |  |  | Included
13 | OPGW Supply | FODP 96F (set) | SET | 2 |  |  |  | Included
14 | OPGW Supply | OPGW Coiling Beacket | SET | 68 |  |  |  | Included
15 | FOTE Supply | FOTE STM 16 SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP (1+1) PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPED OPTICAL INTERFACE & TRIBUTARY CARDS, DTPC, SFP, ETHERNET INTERFACE 10/100 WITH LAYER TO SWITCHING, GIGABYTE ETHERNET INTERFACES, EQUIPMENT CABINETS, NMS, FOR CRAFT TERMINAL, VOIP, TELEPHONE, 48 F, FODP & INCL. LIU ETHERNET SWITCH, GI PIPE | SET | 4 |  |  |  | Included
16 | FOTE Supply | Repeater Station | SET | 2 |  |  |  | Included
17 | OPGW mandatory spares | 48 fiber (DWSM) OPGW fiber OPTIC CABLE | KM | 13 |  |  |  | Included
18 | OPGW mandatory spares | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW (JOINT BOX LOCATION) | SET | 1 |  |  |  | Included
19 | OPGW mandatory spares | Suspension Clamp Assembly for 48 fiber OPGW (NON JOINT BOX LOCATION) | SET | 23 |  |  |  | Included
20 | OPGW mandatory spares | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 24F OPGW INCLUDING ALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 1 |  |  |  | Included
21 | OPGW mandatory spares | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBER OPGW (NON JOINT BOX LOCATION) | SET | 5 |  |  |  | Included
22 | OPGW mandatory spares | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FOR JOINT BOX (SPLICING) LOCATION | SET | 4 |  |  |  | Included
23 | OPGW mandatory spares | Vibration Damper for 48 fiber OPGW | EA | 126 |  |  |  | Included
24 | OPGW mandatory spares | Down Lead Clamp Assembly for 24 fiber OPGW | EA | 112 |  |  |  | Included
25 | OPGW mandatory spares | Joint Box for 48fiber (OPGW-Approach Cable) | EA | 1 |  |  |  | Included
26 | OPGW mandatory spares | Joint Box for 48 fiber (OPGW-OPGW) | EA | 4 |  |  |  | Included
27 | OPGW mandatory spares | Approach Cable | MTR | 16 |  |  |  | Included
28 | OPGW mandatory spares | GI Pipe (m) | MTR | 13 |  |  |  | Included
29 | OPGW mandatory spares | FODP 96F (set) | SET | 1 |  |  |  | Included
30 | OPGW mandatory spares | OPGW Coiling Bracket | SET | 4 |  |  |  | Included
31 | FOTE mandatory spares | FOTE STM 16 SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP (1+1) PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPED OPTICAL INTERFACE & TRIBUTARY CARDS, DTPC, SFP, ETHERNET INTERFACE 10/100 WITH LAYER TO SWITCHING, GIGABYTE ETHERNET INTERFACES, EQUIPMENT CABINETS, NMS, FOR CRAFT TERMINAL, VOIP, TELEPHONE, 48 F, FODP & INCL. LIU ETHERNET SWITCH | SET | 1 |  |  |  | Included
Total Ex-Works Price excluding GST | [7 empty] | 0
|  | Total Freight, In-Transit, Insurance, Loading & Unloading charges excluding GST | [5 empty] | 0
|  | Total GST Tax on Ex-works and Freight charges as confirmed by Bidder | [5 empty] | 0
Note # | Specify amount of GST on the transaction between the Contractor and the Employer
* | Prices to be quoted in Freight and Insurance shall be towards Local transportation, Insurance, Unloading & Loading in line with ITB Clause 11.4(b) only.
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-2

## Sch-2
Schedule-2
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)(JBLine)
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Jabalpur Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Installation Charges
All prices are in Indian Rupees
SI No. | Activity Description | Description | Unit | Qty. | Unit Erection Charges | Unit GST on Erection charges as confirmed by Bidder | Total Erection Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
Summary of Requirement of Hardware for OPGW
1 | Installation services | Uninstallation of GS Earthwire along with its accessories and Installation of 48 FIBER (DWSM) OPGW Cable alongwith associated Hardware fittings & vibration dampers in Live-line condition | KM | 236 |  |  | Included
2 | Installation services | Installation of Joint box above ground (Including Splicing & Testing) : 48 fiber | EA | 74 |  |  | Included
3 | Installation services | Installation of FOTE System along with associated accessories and equipment | EA | 4 |  |  | Included
4 | Installation services | Installaton of Repeater Station along with associated accessories and equipment | EA | 2 |  |  | Included
Total Installation Charges excluding GST | [6 empty] | 0
Total GST as confirmed by Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3a

## Sch-3a
Schedule-3a
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Jabalpur Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Training Charges
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Training Charges excluding GST | Unit GST on Training charges as confirmed by Bidder | Total Training Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
Supply & Laying of 48F OPGW 514.75 kms (Line length of JD Line will be corrected and another 100 kms would add) for both lines and Installation of 4 Nos. STM 16 FOTE and 2 Nos. Repeater Station(JB Line)
1 | Training-Tele eqpt | Training for communication Equipments | Man days | 3 |  |  | Included
Total Training Charges | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-3b

## Sch-3b
Schedule-3b
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
(Schedule of Rates & Prices)
Bidders Name & Address: | [5 empty] | To:
Jabalpur Transmission Company Limited
Name : | [5 empty] | Unit No. 101, First Floor, Windsor,
Address : | [5 empty] | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Maintenance Charges during and after Defect Liability Period
All prices are in Indian Rupees
SI. No. | Activity Description | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Unit GST as confirmed by Bidder | Total Maintenance Charges (including GST)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8={(6+7)*5}
Supply & Laying of 48F OPGW 514.75 kms (Line length of JD Line will be corrected and another 100 kms would add) for both lines and Installation of 4 Nos. STM 16 FOTE and 2 Nos. Repeater Station(JB Line)
1 | AMC | Not Applicable | Years | - |  |  | Included
2 | AMC | Not Applicable | Years | - |  |  | Included
Total Maintenance Charges during and after actual commissioning of the Project | [6 empty] | 0
Total GST as claimed by the Bidder | [5 empty] | 0
Date: |  |  |  | Authorized Signatory:
Place: |  |  |  | Designation:
Click for Sch-4

## Sch-4
Schedule-4
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
Summary of taxes and duties applicable on Plant & Equipment
Bidders Name & Address: |  |  | To:
Jabalpur Transmission Company Limited
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Item Nos. |  | Total Price (INR)
1 | Total GST on Goods
| Total GST on supply of goods (interalia including Type Test charges) between the Contractor and the Employer (identified in Schedule 1) which are not included in the Ex-works Prices as per the provision of the Bidding Documents, as applicable |  | 0
2 | Total GST on Services
| Total GST on installation services (Schedule-2), Training Charges (Schedule-3a), Maintenance Charges during and Defect Liability Period (Schedule-3b) |  | 0
| Grand Total (1+2) |  | 0
Date: |  | Authorized Signatory:
Place: |  | Designation:
Click for Sch-5

## Sch-5 (Buy Back)
Schedule-5
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
(Schedule of Rates & Prices)
Bidders Name & Address: |  |  |  |  | To:
Jabalpur Transmission Company Limited
Name : |  |  |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Buy-Back Charges (Scrap Value)
All prices are in Indian Rupees
SI. No. | Description | Unit | Quantity | Unit Charges excluding GST | Total Charges excluding GST
1 | 2 | 3 | 4 | 5 | 6=(4*5)
Supply & Laying of 48F OPGW 514.75 kms (Line length of JD Line will be corrected and another 100 kms would add) for both lines and Installation of 4 Nos. STM 16 FOTE and 2 Nos. Repeater Station(JB Line)
1 | Dismantled Scrap Earthwire along with its Hardware accessories | km | 236 |  | Included
Total Charges (Excluding GST) |  |  |  |  | 0
*Buyer (Bidder/Contractor) of the scrap material shall be liable to pay extra towards GST, TCS (Tax Collected at Source) as per Income Tax Act and other applicable taxes if any, as per actual, as per tax invoice raised by the Employer.
*Scrap Value (excluding GST and other applicable taxes if any) shall be considered solely for bid evaluation purpose to arrive at the net evaluated price of the Bidder/Contractor.
Note: | 1. Details of Earthwire to be dismantled from existing transmission lines of various voltage levels are given in Appendix A of Technical Specification
Date: |  |  | Authorized Signatory:
Place: |  |  | Designation:
Click for Sch-6

## Sch-6
Schedule-6
Supply and Installation of 48 Fiber OPGW along with 4 Nos. STM 16 FOTE and 2 Nos. Repeater Stations for 765 kV S/C Jabalpur Bina Transmission Line and 765 kV D/C Jabalpur Dharamjaigarh Transmission Lines (Line Length: 615 Km) (JBLine)
Grand Summary
Bidders Name & Address: |  |  | To:
Jabalpur Transmission Company Limited
Name : |  |  | Unit No. 101, First Floor, Windsor,
Address : |  |  | Village Kolekalyan, off CST Road,
Vidyanagari Marg, Kalina,
Santacruz (East), Mumbai – 400098
Sno. | Description |  | Total Price (INR)
1 | Total Schedule-1 |  | 0
Total Ex-Works Price of Plant & Equipment including freight charges and GST
2 | Total Schedule-2 |  | 0
Total Installation Charges including GST
3 | Total Schedule-3a |  | 0
Total Training Charges including GST
4 | Total Schedule-3b |  | 0
Total Maintenance Charges during and after Defect Liability Period including GST
5 | Total Schedule-4 |  | Included
Summary of taxes and duties applicable on Plant & Equipment
6 | Total Schedule-5 |  | 0
Buy Back Charges
7 | Grand Total* (1+2+3+4-6) |  | 0
*Note: The Grand Total indicated here in Schedule-6 shall be quoted in Bid Form 2nd Envelope.
Date: |  | Authorized Signatory:
Place: |  | Designation: